## Slide 1
On Detecting New Words:
The Art of Precise Doppler Spectroscopy
Using Iodine Cells
Sharon Xuesong Wang
Thesis Advisor: Jason T. Wright
Thesis Defense, May 31, 2016

## Slide 2
On Detecting New Words:
The Art of Precise Doppler Spectroscopy
Using Iodine Cells
Sharon Xuesong Wang
Thesis Advisor: Jason T. Wright
Thesis Defense, May 31, 2016
Notes: apologies if you are from the English department

## Slide 3
On Detecting New Worlds:
The Art of Precise Doppler Spectroscopy
Using Iodine Cells
Sharon Xuesong Wang
Thesis Advisor: Jason T. Wright
Thesis Defense, May 31, 2016

## Slide 4
Radial Velocity (RV)
measured by precise Doppler spectroscopy
image credit: ESO
Notes: here is how precise doppler spectroscopy finds new planets...

## Slide 5
first discoveries of exoplanets
1955 Otto Struve, first documented concept
1973 Griffin & Griffin, proposed 10 m/s
1988 Campbell & Walker et al., 15 m/s
1989 Latham et al., 100 m/s
1993 Hatzes & Cochran, 20 m/s
1993 Wolszczan & Frail, first exoplanet
1995 Mayor & Queloz, 51 Peg b
1996 Marcy & Butler, the next 9 exoplanets
Campbell and Walker
from Paul Butler’s blog post
Mayor and Queloz at La Silla
image by ESO
Marcy and Butler in 1997
image from New York Times
Notes: precise doppler spectroscopy has had a glorious history

## Slide 6
2009 – 2013, as K2: 2013 – now
Notes: things take off. Kepler made amazing discoveries. No longer butterfly collection but doing statistics. what is the role of precise doppler spectroscopy today.

## Slide 7: Precise Doppler spectroscopy is the work horse for measuring planet mass
Wolfgang et al. 2015
Notes: This is a plot from Wolfgang et al. 2015, a mass radius diagram for the small exoplanets. The lines with shaded regions are the derived mass distribution, but unfortunately due to the limited sample, we don’t have a handle on planets smaller than 1.6 earth radius, which are the most likely rocky ones. As you can see the error bars on these points occupy half of the diagram. So how can we improve the situation? We need to shrink the error bars and populate this plots with more planets. Most of the planets on here are discovered by Kepler and later had their masses measured via ground-based RVs. And for doing massive follow-ups on a large sample of planet host stars with either Kepler or TESS, we need large apertures.

## Slide 8: Precise Doppler spectroscopy plays an important role in the quest for Earth 2.0
image courtesy of Chester Harman and Ravi Kopparapu
Notes: it’s not only about measuring mass for transiting planets. RV itself will play an important role in finding Earth 2.0. This is a plot of stellar temperature vs. orbital period, blue is the habitable zone. The periods that the TESS mission is sensitive to is drawn in the dashed lines. TESS is not sensitive to earth like planet around sun like stars. it’ll be the job of RV, but the precision required is high.

## Slide 9: current RV precision ~ 1-2 m/s
2 m/s
4
6
8
10
12
V or Kepler Magnitude
Marcy+ 2014 upper limits
Notes: I’m not saying that 1-2m/s is bad. It is an exquisite precision, and we’ve come a looong way to reach it. This is a plot of all the RV-detected exoplanets. x-axis is date of discovery and y-axis is the RV semi-amplitude in m/s. You can see in the past two decades we’ve come down from hundreds of meters per second down to 1-2. But we kind stalled at the 1-2 m/s precision for a while…

## Slide 10
Iodine-Calibrated
Keck HIRES*
Magellan PFS*
Lick APT*
SONG*
SMARTS CHIRON*
HET HRS*
AAT UCLES*
UVES on VLT
Tull on 2.7m
Hamilton on Lick*
*have used the same Doppler pipeline from CPS/LCPS
ThAr-Calibrated
HARPS-S
HARPS-N
PARAS
SOPHIE+
AST TOU
slide from Christophe Lovis
copy right LaurieHatch.com
Notes: This is what the field looks like today. There are roughly two types of precise RV instruments according to their wavelength calibrators. One uses iodine where light passes through an iodine cell before it enters the spectrograph. One uses ThAr lamp, where you have simultaneous ThAr traces next to your stellar spectrum. These instruments all have pretty high precision, about 1-2 or up to 3-6 m/s. I’ve highlighted Keck/HIRES and HET/HRS here, which are what this talk will focus on today. And I just want to point out that almost all iodine RV instruments use the same doppler pipeline or a variation of it, which Paul Butler wrote for Lick and Keck two decades ago.

## Slide 11
Hobby-Eberly Telescope (HET)
High Resolution Spectrograph (HRS)
McDonald Observatory, TX
Keck Telescope
High Resolution Echelle
Spectrometer (HIRES)
iodine cell calibrator
the only 2 northern large telescopes
with precise RV capability:
Notes: So these are the only two large telescopes in the northern hemisphere with real precise RV capability. Keck, with its HIRES, and HET with its HRS. They both use iodine cells as calibrators, and will remain so in the next 5 years, so well into the TESS era. My thesis is set out to improve the precision of these two telescopes. I’ll first start with my work with HET, which is dear to our heart.

## Slide 12: the RVs are extracted by forward modeling precise RV spectra
– iodine lines
– stellar lines
 observation
“true”
(model)
observed
iodine atlas
stellar template
Notes: emphasize spectra are fit in chunks

## Slide 13
get the most out of HET/HRS
3 m/s
fiber-fed
being upgraded now
> 10 years of precise RV data

## Slide 14
discovery of HD 37605c
Wang et al. (2012)
Notes: HD 37605c, which is the 10th Jupiter analog ever found, 3 jup mass, 7.5 year orbit.
37605b was first planet discovered by HET lead by the Texas Austin team, 3 jup mass, 55 days orbit.
This was a joint discovery with Austin team, Bill Cochran, Phillip McQueen and Michael Endl where they provided all of their archival data.
Bottom plot shows the residuals, which is a good illustration of comparison between Keck precision and HET.

## Slide 15
discovery of HD 37605c
Wang et al. (2012)
why only 3-5 m/s?

## Slide 16: temperature stabilization was an issue

## Slide 17: fits for iodine frames are good diagnoses
IP
Instrumental Profile

## Slide 18
Keck/HIRES
iodine atlas fits observation well
HET/HRS
iodine atlas does NOT fit
Notes: Now back to the mystery of HRS. One of the powerful diagnosing tools is to fit the iodine absorption lines alone, using an iodine atlas taken by a fourier transform spectrograph as the input model. For Keck they fit their iodine lines really well, which means we have good knowledge of the iodine cell and the instrument PSF. At HET, not so much. So it turns out this is a two fold problem tangled together. First, we haven’t found the perfect functional form to describe the HRS PSF, unlike Keck. And the second reason is that we suspect the input iodine model, the iodine atlas, is insufficient.

## Slide 19: fits for iodine frames are good diagnoses
3
2
1

## Slide 20: fits for iodine frames are good diagnoses
3
2
1

## Slide 21: raw reduction is probably fine

## Slide 22: fits for iodine frames are good diagnoses
3
2
1

## Slide 23: different IP functions are equally bad and don’t converge

## Slide 24: fits for iodine frames are good diagnoses
3
2
1

## Slide 25: Fourier Transform Spectrograph (FTS)
image credit Stigmatella aurantiaca from wikipedia
provides high-resolution, wavelength calibrated spectrum.

## Slide 26: two FTS scans of HET/HRS cell show significant differences
1993 @ KPNO
2011 @ NIST

## Slide 27: the NIST FTS is “wrong”?

## Slide 28
questions
answers
Keck
NIST
KPNO
?
?

## Slide 29: the perfect echelle spectrograph for validating FTS scans
Tull Spectrograph
Resolution ~ 500,000
TS12 setting
Coudé @ McDonald 2.7-m Harlan J. Smith Telescope
2 Å per frame, ~ 30-60 Å per day
almost
Notes: why 30 per day?!

## Slide 30
Photo by David Doss @ McDonald

## Slide 31: TS12 raw spectral image

## Slide 32: R ~ 500,000 Echelle Spectrum of the 2.1m Iodine Cell
with Ming Zhao
Notes: clarify it’s not the HET cell!!
don't challenge. solicite help and advice.

## Slide 33: KPNO FTS Scan of 2.1m cell validated echelle spectrum is up to the job
Notes: and this coming week we’ll do the same validation test for another 4 cells.

## Slide 34: HET/HRS cell: echelle spectrum matches the NIST FTS
echelle spectrum
NIST FTS
KPNO FTS

## Slide 35
no line changes with temperature in NIST scan
significant line changes with temperature in TS12 spectra

## Slide 36
another avenue for getting iodine spectra
IodineSpec5
Knockel et al. 2004
theoretically computed iodine line list and intensities,
calibrated with experimental data
used for wavelength calibration for FTS scans of iodine cells

## Slide 37: NIST scan was at 110°C?!

## Slide 38: ok… but why does the TS12 spectrum match with the NIST scan? why does the NIST scan fit the worst?
echelle spectrum
NIST FTS
KPNO FTS

## Slide 39: the HET cell is probably NOT at 70°C

## Slide 40
questions
answers
Keck
NIST
KPNO
NIST scan was at a higher temperature, calibrated with a different iodine line list.
The line depths of the true HET iodine cell spectrum are often in between 70°C and 110°C, more similar to Keck’s.

## Slide 41: unreliable temperature control? mice in the old enclosure…
…but the TS12 spectrum was taken with the new enclosure!

## Slide 42
plans for HET/HRS:
instrument is being upgraded right now
+ validate the temperature control
+ re-scan iodine cell at different temperatures
+ explore better IP models
will also improve the precision of the >10 years of archival data

## Slide 43
Hobby-Eberly Telescope (HET)
High Resolution Spectrograph (HRS)
McDonald Observatory, TX
Keck Telescope
High Resolution Echelle
Spectrometer (HIRES)
iodine cell calibrator
the only 2 northern large telescopes
with precise RV capability:
Notes: now onto Keck

## Slide 44: Keck/HIRES is the work horse for measuring Kepler planet mass
Wolfgang et al. 2015
Notes: as I mentioned

## Slide 45: we need better RV precision!
Kepler 78b
Earth mass, Earth size
Howard et al. 2013
RV
Orbital Phase
Orbital Phase
Keck HIRES
Jitter ~ 2.1 m/s
RV Amp ~ 1.7 m/s
Notes: Kepler 78 is 11.7 V mag

## Slide 46: Keck precision on a RV standard star
sigma Draconis (HD 185144)
Notes: standard practice – look at RV standard star

## Slide 47: a > 1 m/s systematic error!
sigma Draconis (HD 185144)
Notes: a powerful way to spot systematic errors is to plot RV against barycentric correction velocity of the star. That is the star’s velocity with respect to the observatory due to motions relative to the barycenter of the solar system.

## Slide 48: the RVs are extracted by forward modeling precise RV spectra
– iodine lines
– stellar lines
 observation
“true”
(model)
observed
iodine atlas
stellar template

## Slide 49: systematics like to correlate with BC: the largest RV signal is the Earth
“true”
(model)
observed
iodine atlas
stellar template

## Slide 50: the RVs are extracted by forward modeling precise RV spectra
– iodine lines
– stellar lines
 observation
“true”
(model)
observed
iodine atlas
stellar template

## Slide 51: telluric lines = spectral contamination
500nm
1μm
1μm
2.6μm
Smette et al. (2015)

## Slide 52: micro-tellurics in iodine spectral region
generated using TERRASPEC, Bender et al. 2012

## Slide 53: complete end-to-end simulation of the Keck Doppler pipeline
true
(model)
observed
(synthetic)
iodine atlas
stellar template
(synthetic spectrum)

## Slide 54: tellurics make a difference!
HD 185144, no photon noise
perfectly stable spectrograph
Notes: explain what we are looking at here!!

## Slide 55
telluric contamination is bad for RV precision, especially for high SNR observations and stabilized spectrograph
But Maybe OK for Keck/HIRES
HD 185144
HD 10700
add noise
add varying IP

## Slide 56
remedies for telluric contamination:
tested with Keck Doppler pipeline
FYI: masking out the telluric lines – not the best idea
+ forward model the telluric lines
+ clean up the tellurics in stellar template

## Slide 57: but what is behind the 1 m/s systematics?
sigma Draconis (HD 185144)
Notes: we used synthetic spectrum as stellar template

## Slide 58: the RVs are extracted by forward modeling precise RV spectra
– iodine lines
– stellar lines
 observation
“true”
(model)
observed
iodine atlas
stellar template

## Slide 59: stellar template is made by deconvolution
spectral PSF
observed stellar spectrum
deconvolved stellar template
iodine (nearby B star)

## Slide 60: our current deconvolution algorithm is good, but not good enough
synthetic spectrum
deconvolved spectrum
Notes: dash the black, red much thicker!

## Slide 61: observed systematics reproduced
a selected 2A chunk, no tellurics
observed
simulated
gray = “perfect simulation”
RV m/s
RV m/s
Barycentric Correction m/s
Notes: the fact that simulation can predict reality
completely reproduced systematic errors from synthetic data.

## Slide 62: deconvolution error in stellar template: 1 m/s RMS, K~1 m/s spurious signal

## Slide 63
precision on a ‘standard star’ = 2 m/s
error added by deconvolution = 1 m/s
error added by atmosphere = 0.6 m/s
1.6 m/s
spurious signal at period of 1 year and harmonics
added by deconvolution K = 1 m/s
added by atmosphere K = 0.2 m/s

## Slide 64: the RVs are extracted by forward modeling precise RV spectra
– iodine lines
– stellar lines
 observation
“true”
(model)
observed
iodine atlas
stellar template

## Slide 65: algorithmic errors
a selected 2A chunk, no tellurics
the “perfect simulation” is not perfect
Notes: convergence issue + wrong minimum
legacy code

## Slide 66: the CPS Doppler code is old
The Doppler Lab at SFSU
image from Jason Wright’s blog
Notes: standard practice – look at RV standard star

## Slide 67: the CPS Doppler code is old
Notes: standard practice – look at RV standard star

## Slide 68
Our data analysis tools are outdated
We cannot continue using pre-1990s tools to solve post-2010s problems

## Slide 69: exciting future opportunities

## Slide 70
The Future
A New RV Code
Python, GitHub, Bayesian
MCMC + gaussian processes
Foreman-Mackey et al. 2013
Czekala et al. 2014

## Slide 71
An exciting future in
detecting Earth 2.0
via precise Doppler spectroscopy!
reproduced and identified dominant systematics in HET & Keck RVs
interrogated every aspect of precise iodine work
moving forward with a new Doppler pipeline for next-generation facilities
Kepler 452b NASA Ames/JPL-Caltech/T. Pyle

## Slide 72
Many Thanks
and many partings
Thanks to my advisor, Jason Wright.
Thanks to my committee for advice and guidance (which indirectly landed me a job).
Thanks to Ming Zhao, Kim Cartier, and Joey Schmitt for their heroic efforts at TS12.
Thanks to Andrew Howard and Howard Isaacson for Keck data.
Thanks to NASA/NESSF for two years of funding.
Thanks to everyone in this department for the wonderful eight years.

## Slide 73: likelihood to posterior, optimization to integration
plus uninformative prior
Notes: 15 dimensions, point estimator

## Slide 74
credit: Ian Czekala

## Slide 75
credit: Dan Foreman-Mackey

## Slide 76
credit: Ben Nelson

## Slide 77
t = t0
t = te
flux
wavelength
z = zstar + zplanet

## Slide 78
t = t0
t = te
flux
wavelength
z = zstar + zplanet

## Slide 79: Jupiter analogs are emerging
Notes: The jupiter analogs. The first planets discovered are all hot jupiters… formation… jupiter analogs are important.
Jupiter, 5AU, 12 year orbit, low eccentricity.
Analogs > 7 years, 0.5-4 jupiter mass, low eccentricity < 0.3.

## Slide 80: discovery of HD37605c
Wang et al. (2012)
Notes: b: 55 days, high ecc. c: almost 8 years, low ecc, and both are roughly 3 jupiter masses.

## Slide 81: discovery of HD37605c
Wang et al. (2012)
Transit Ephemeris Refinement and Monitoring Survey (TERMS)
led by Stephen Kane
Notes: the discovery story…
as time goes by you lose predictability of transit timing.
then estimate how well we can predict the transit center.

## Slide 82
BOOTTRAN
error bars for Keplerian fit via bootstraping
provides transit centers and error bars
compatible with RVLIN package
available at exoplanets.org/code, in IDL
Notes: Bootstrap to get sampling distribution
plug and go
full formula and statistical arguments
Compared with MCMC in paper

## Slide 83: SMG-AGNs are not special?
Wang et al. 2013

## Slide 84
Inverse metallicity profile in LSBs?
MUSCEL: multiwavelength study of the structure, chemistry, and evolution of LSBs
Young, Kuzio de Naray, & Wang, 2015

## Slide 85
lots of highly obscured AGNs in low-mass galaxies?
Xue, Wang, et al. 2012

## Slide 86: systematics like to correlate with BC: the same bias at the same BC
“true”
(model)
observed
iodine atlas
stellar template

## Slide 87: systematics like to correlate with BC: the same bias at the same BC
“true”
(model)
observed
iodine atlas
stellar template

## Slide 88: what gives persistent RV errors?
1
“true”
(model)
observed
iodine atlas
stellar template
2
3
4
5

## Slide 89: what gives persistent RV errors?
barycentric correction
observed spectra
stellar template
iodine atlas
algorithm
1
2
3
4
5

## Slide 90: what gives persistent RV errors?
barycentric correction
observed spectra
stellar template
iodine atlas
algorithm
Wright & Eastman 2014
1
2
3
4
5

## Slide 91: what gives persistent RV errors?
barycentric correction
observed spectra
stellar template
iodine atlas
algorithm
1
2
3
4
5

## Slide 92: what gives persistent RV errors?
barycentric correction
observed spectra
stellar template
iodine atlas
algorithm
1
2
3
4
5

## Slide 93: what gives persistent RV errors?
barycentric correction
observed spectra
stellar template
iodine atlas
algorithm
1
2
3
4
5

## Slide 94: what gives persistent RV errors?
barycentric correction
observed spectra
stellar template
iodine atlas
algorithm
1
2
3
4
5

## Slide 95: tellurics in precise RV: from path to byway
1973 Griffin & Griffin O2 as calibrator -> 10 m/s
2010s 5-20 m/s both optical & NIR
Barnes+2012, Blake+2010, Figueira+2010a
2010 Bean et al. 5 m/s with CRIRES
NIR tellurics = bottleneck!

## Slide 96
The issue of telluric contamination
must be properly addressed
in all high-precision RV surveys
for a summary on the issue and recommendations:
bit.ly/eprv_telluric_summary

## Slide 97
360d
180d
observed
simulated
deconvolution errors can mimic planet signal at ~1 m/s level with periods at harmonics of ~1 year

## Slide 98
Msini ~ 11 Me, P ~ 310 days
Phase
RV
4
-4
Vogt et al. 2014
a planet around sigma Draconis?
deconvolution errors can mimic planet signal at ~1 m/s level with periods at harmonics of ~1 year

## Slide 99
This is a solvable problem!
Deconvolution is an active research topic in engineering, medicine, astronomy, etc., with many, many well-studied algorithms.

## Slide 100
Launch Date: August 2017

## Slide 101: the role of precise Doppler spectroscopy in the quest for Earth 2.0
image courtesy of Chester Harman and Ravi Kopparapu
Notes: it’s not only about measuring mass for transiting planets. RV itself will play an important role in finding Earth 2.0. This is a plot of stellar temperature vs. orbital period, blue is the habitable zone. The periods that the TESS mission is sensitive to is drawn in the dashed lines. TESS is not sensitive to earth like planet around sun like stars. it’ll be the job of RV, but the precision required is high.

## Slide 102: the 7 components of precise RV
star
stellar
activity
input
stable
spectrograph
calibrator
tellurics
data analysis
credit: Andreas Quirrenbach, Debra Fischer

## Slide 103: the 7 components of precise RV
star
stellar
activity
input
stable
spectrograph
calibrator
tellurics
data analysis
credit: Andreas Quirrenbach, Debra Fischer
astrophysics
hardware
software

## Slide 104: the 7 components of precise RV
star
stellar
activity
input
stable
spectrograph
calibrator
tellurics
data analysis
credit: Andreas Quirrenbach, Debra Fischer

## Slide 105: the 7 components of precise RV
star
stellar
activity
input
stable
spectrograph
calibrator
tellurics
data analysis
credit: Andreas Quirrenbach, Debra Fischer

## Slide 106: the 7 components of precise RV
star
stellar
activity
input
stable
spectrograph
calibrator
tellurics
data analysis
credit: Andreas Quirrenbach, Debra Fischer

## Slide 107: the 7 components of precise RV
star
stellar
activity
input
stable
spectrograph
calibrator
tellurics
data analysis
credit: Andreas Quirrenbach, Debra Fischer

## Slide 108: 500 TESS small exoplanets around bright sun-like stars high demand on precise RVs
data from Sullivan et al. 2015
Notes: most of the measured mass for small planets bear large error bars

## Slide 109: future precise RV instruments
Optical
MINERVA at Mt Hopkins
(HET/HRS2, Magellan/PFS2)
MAROON-X on Magellan
EXPRESSO on VLT
NRES on LCOGT
iLocater on LBT
WIYN/NEID
EXPRES on DCT
SHREK on Keck
G-CLEF on GMT
HORUS on GTC
HROS on TMT?
NIR
MINERVA Red
HPF on HET
SPIRou on CFHT
CRIRES+ on VLT
IRD on Subaru
SIMPLE on EELT
NIRSPEC+ on Keck?
NIRES on TMT?
Optical+NIR
CARMENES on CAO 3.5m
(MINERVA + Red)
HIRES on EELT
GIARPS on TNG
Notes: http://carmenes.caha.es/ext/instrument/index.html
MINERVA
MAROON-X on Magellan
EXPRES on DCT
NASA EPDS on WIYN
CARMENES on CAO 3.5m
GIARPS on TNG
HPF on HET
SPIRou on CFHT
CRIRES+ on VLT
IRD on Subaru
EXPRESSO on VLT
HORUS on GTC
SHREK on Keck
G-CLEF on GMT
HROS/NIRES on TMT
HIRES on EELT

## Slide 110
MINERVA
high cadence, high precision (0.8 m/s)
Earths on short orbits, ~15 super-Earths in Habitable Zone

## Slide 111
opportunities and challenges with
MINERVA, HRS2, and PFS2
HRS2 image slices
(P. MacQueen)
simulated MINERVA data (Swift+2015)

## Slide 112: activity cycle of HD 185144

## Slide 113: Kepler provides a great sample of low-mass planet candidates
KOI (~4000)
KP < 12 (205)
KP < 10 (23)

## Slide 114: tellurics create large RMS and aliases for contaminated chunks

## Slide 115
Model
Iodine Atlas
Stellar Template
Reference Spectra
t = t0
Line Spread Function
Wavelength Solution
including z or RV
Model Parameters
t = te

## Slide 116: tellurics create RV systematics
Cunha et al 2014
HARPS-S Data

## Slide 117: masking out the telluric contamination
t = t0
shifted
t = te
– iodine lines
– stellar lines
 observation
telluric

## Slide 118: masking out telluric lines
before
after
difference
RMS = 2.63 m/s
RMS = 2.44 m/s
RMS = 1.07 m/s
Notes: plots made by ~/Exo…/Keck…/plots_general/basic_rv.pro and saved in basic_rv/

## Slide 119: tau Ceti – not working?
RMS = 3.05 m/s
RMS = 3.26 m/s
RMS = 1.14 m/s
Notes: plots made by ~/Exo…/Keck…/plots_general/basic_rv.pro and saved in basic_rv/

## Slide 120: a clean template + modeling = better?
before
RMS = 2.56 m/s
after
RMS = 2.41 m/s
difference
RMS = 1.27 m/s
using a cleaned stellar template
+
modeling tellurics in the epoch spectra
(proof-of-concept run)